SECTION 13125 – Custom Aluminum Bleacher Systems

PART 1 – GENERAL

  - RELATED DOCUMENTS

Drawings and general provisions of the Contract; including General and Supplementary Conditions and Division 1 Specification Sections, apply to work of this section.

1.2	SCOPE OF WORK

Provide labor, materials, equipment, engineering, installation to provide a new custom aluminum bleacher system in accordance with the following specifications:

A.	Minimum acceptable criteria:

- Design per plan view and sectional view drawings.

- The overall length of grandstand shall be as per architectural drawings.

- The number of rows shall be as per architectural drawings.

- Height of front walkway from grade shall be as per architectural drawings.

- Width of front walkway to be as per architectural drawings.

- The rise per row shall be as per architectural drawings.

- The depth per row shall be as per architectural drawings.

- Net seating capacity shall be as per architectural drawings.

- The riser shall be structurally connected to the decking system panel every 12” longitudinal with ¼” diameter structural grade rivet.

- There shall be no gaps or cavities between the riser portion of the decking system and any supports or attachments.

- ADA seating shall be as per architectural drawings.

- Aluminum extrusions using alloy 6063-T6 and 6061-T6.

- Understructure members shall be constructed using square tube and aluminum angle extrusions. Vertical columns should have a dimension of 2” x 2” and a minimum wall thickness of 1/8” on all columns except the terminal column which should be 3”x 2”. The footboard supports and bases angles should be 2” x 1.1/2”x 3/16” aluminum angle. All diagonal bracing should be 1.1/2” x 1.1/2” x 3/16” aluminum angle.

- All mating connections to create the understructure framing system shall be welded connections and shall be welded on all sides.

- All welded connections shall be by certified aluminum welders

- All understructure frames shall be treated after fabrication by a system that employs a commercial cleansing and rinse procedure.

- Aisle and Egress stairs shall have a ½” overlap.

- At locations where platforms meet end to end a beveled four inch wide aluminum threshold extrusion shall be provided to cover the walking surface.

- Seat support system shall be universally adjustable to any location on the vertical plane of the decking system.

- All seat support, aisle step supports, aisle handrails and risers shall be installed from the topside of the decking system.  There shall be no through bolting of these items through the riser system.

- Guardrail system shall be constructed with all-aluminum support posts and railings with galvanized/vinyl coated chain link fencing.

- Bleacher manufacture must have a written quality control program for manufacturing, shipping and installation.

- Walking surface shall be fluted non-skid and slip resistant.

B.	Related Sections include the following:

1.  Division 3 Section “Cast-in place Concrete” for concrete mix design           and testing requirements.

1.3	SYSTEM PERFORMANCE REQUIREMENTS

A.    	General:  Provide a complete, custom bleachers system mutually     dependent components and assemblies that form a custom system capable of with standing structural and other loads, thermally induced movement, and exposure to weather without failure.  Include primary and secondary framing, decking system, seating, handrails /guardrails, press box and accessories complying with requirements indicated, including those in this Article.

B.    	Structural Performance:  Provide bleacher system capable of 				withstanding the effects of gravity loads and the following loads and 			stresses within limits and under conditions indicated:

  - Design Loads / Structural – Framing Members

    - Dead Loading: 6 PSF for understructure

    - Live Loads: 100 PSF for understructure

  - Design Loads / Decking System

    - Dead Loading: 6 PSF for decking, platforms, stairs and ramps

    - Live Loads: 100 PSF for decking, platforms, stairs and ramps

    - Deflection Limits: engineer assemblies to withstand design loads with deflections no greater than the following:

      - Decking, platforms, stairs and ramps: vertical deflection of L/360

    - Sway loads of 24 PLF per row parallel to seat and 10 PLF per row perpendicular to seat run.

  - Design Loads / Handrail / Guardrail

    - 100 PLF Vertical

    - 50 PLF applied in any direction

    - 200 LB Concentrated load any direction

    - 50 PSF fencing and infill

  - Design Loads / Seat Boards

    - Live Loads: ( vertical) 120 pounds per lineal foot

  - SUBMITTALS

A.	Shop Drawings: Include construction details, material descriptions,    dimensions of individual components and profiles, and finishes for each type of the following grandstand system components:

1.  Foundations:

a. Footings, slab and reinforcement.

2.  Structural framing:

a. Primary and secondary framing including but not limited to the following:

1.)  Vertical & Horizontal Members

2.)  Bracing

3.)  Connecting hardware

3.  Tredweld Decking System:

a. Decking Platforms

b. Risers

c. Supports for Seats

d. Aisle Steps

e. Aisle Handrails

f. Egress Stairs

g. Hardware

- Seating

- Handrails / Guardrails

- Ramps

  - QUALITY ASSURANCE

A.	Concrete Installers Qualifications:  An experienced installer who has completed concrete work similar in material, design and extent indicated for this project and whose work has resulted in construction of bleacher system with a record of successful in-service performance.  Concrete install must be certified by bleacher manufacturer.

B.	Erector Qualifications:  An experienced erector who has specialized in

installing bleacher system similar in material, design, and extent to that indicated for this Project.  Bleacher erector must be certified by bleacher manufacturer.

- Professional Engineer Qualifications:  A professional engineer who is            	legally qualified to practice in jurisdiction where project is located and 	who is experienced in providing engineering services of the kind 	indicated.  Engineering services are defined as those performed for 	installation of bleacher systems that are similar to those indicated for 	this Project in material, design and extent.  All approval drawings shall 	bear the seal of a registered professional engineer in the state of 	installation.

- Quality Control:  Manufacturer’s written quality control for

manufacturing, shipping and installation shall be submitted prior to award 	of contract.

- Standards and Guidelines:  Comply with the provisions of the following

codes, specifications and standards, latest editions, except as otherwise        noted or specified:

  - American Concrete Institute (ACI)

  - Aluminum Association of American

  - American Welding society (AWS)

  - Americans with Disabilities Act (ADA)

  - International Building Code (IBC)

  - International Code Council 300 (ICC 300)

- Site visitation:  Bidder shall visit the job site prior to the bid date.  At the time of visitation, bidder must verify site conditions.

  - DELIVERY, STORAGE AND HANDLING

A.     Package all items for protection during transportation and handling.

B.     Do not store items on the job site in contact with other materials that might

cause staining, denting or other surface damage.

  - WARRANTY

A.   All products shall carry, after proper erection, and under normal use for the

type of structure a one (1) year warranty against all defects in materials and

workmanship.

PART 2 PRODUCT

2.1      MANUFACTURER

Structural Aluminum Framing Members and Aluminum Decking System

Outdoor Aluminum, Inc. Geneva, AL (Basis of design) 1-800-225-4249

2.2	CONCRETE FOUNDATIONS

- Foundations shall be designed in accordance with mix designs.

- Foundations shall be either concrete slab or concrete runners.

2.3	UNDERSTRUCTURE:

  - The understructure of the system shall consist of a series of aluminum frames spaced at intervals of no more than 6-0’ and joined by means of aluminum sway braces.

- Each stringer shall consist of vertical members, adequate diagonal braces, and horizontal members welded to form the proper rise per row and proper back to back spacing between seat rows.

- All welded connections shall be by certified aluminum welders, and all mating parts shall be welded on all sides to assure adequate strength.

- Vertical members shall be constructed on 2” x 2” x 1/8” square tube aluminum for all columns except the terminal column which should be 3” x 2” x 1/8” square tube aluminum, alloy 6061-T6, mill finish.

- Horizontal members shall be constructed of 2” x 1.5” x 3/16” aluminum angle, alloy 6061-T6, mill finish.

- Sway braces shall be constructed of 1.5” x 1.5” x 3/16” aluminum angle, alloy 6061-T6, mill finish

2.4	DECKING SYSTEM:

- Decking System Platforms shall consist of extrusions laid side by side to form the tread width.  These individual extrusions are then clamped and factory fixture welded.  The treads shall be welded in a single pass with .0035 diameter 4043 welding wire, using argon gas.  This method will result in a rigid, positively joined tread.  Individual tread lengths shall be a maximum length of 37’-6” with the actual length designed to create the minimum number of expansion seams.   Decking shall be attached to the supporting aluminum tube understructure by means of concealed aluminum clips, galvanized bolts, washers and nuts.

B.	Platforms shall have a minimum aluminum wall thickness of .078” and aluminum shall be alloy 6063-T6.

- Walking surface shall be fluted non-skid and slip resistant.

D.	The rear portion of the platform will turn ninety degrees vertical to accept the next row of decking platforms.  The front portion of the platform shall be complete with a female front edge to allow for a positive male / female connection of a vertical riser.

E.	At locations where platforms meet end to end a beveled four inch wide aluminum threshold extrusion shall be provide to cover the walking surface.  Threshold shall be beveled on both sides so as not to create a trip hazard and must have a fluted surface to prevent slipping. Threshold must comply with specified deflection criteria and once installed must allow for expansion and contraction.

F.	Decking System Riser

- The decking system riser shall be extruded aluminum; alloy 6063-T6 with a 204 R1 anodized clear finish.

- This extrusion shall have a male ridge running continuous at the upper leading edge to interlock with the front portion of the decking system panel.

- The riser shall be structurally connected to the decking system panel every 12” longitudinal with ¼” diameter structural grade rivet.

- There shall be no gaps or cavities between the riser portion of the decking system and any supports or attachments.

G.	Decking System Seat Supports

- The decking system seat support shall be of extruded aluminum angle.

- Once installed the seat support shall have no noticeable gaps between the decking system riser and support.

- Seat support system shall be universally adjustable to any location on the vertical plane of the decking system.

H.	Decking System Aisle Handrails

- The decking system aisle handrails shall be 1-5/8” schedule 40 anodized aluminum pipe.

- Handrails shall have a center line handrail and the spacing between rails shall not be less than 22” or more than 36”.  Handrails shall be discontinuous and shall not span more than five rows of seating.

I.	Decking System Egress Stairs

- The decking system egress stair stringers are to be constructed of 8” aluminum channel, alloy 6061-T6.  Tread supports to be welded to 8” member to totally cap the end of the 2” x 12” stair tread against the channel web.

- Walking surface of tread shall be complete with female front edge to allow for positive male / female connection of the riser closure.  All risers to be fastened to the rear tail of the stair tread with ¼” diameter structural grade rivet.

- Stair tread nosing to be anodized black.  Nosing shall have no external fasteners.

- Stair grab rail to be constructed of 1-5/8” schedule 40 anodized aluminum pipe with no fittings at transition from sloped system to grade.

J.	Decking System Hardware

- All bolts, washers and nuts shall be galvanized.

- End caps shall be of a heavy duty, clamping, aluminum channel design fastened to the ends of extrusions with aluminum rivets.  End caps shall close all end openings of extrusions and shall be a full-length piece and match in both color and finish the extrusion to which they attach.

- All riser fasteners shall be structural ¼” diameter structural grade rivet.

2.5       SEATING AND OPTIONS

- Bench Seating

- Seats shall be of extruded aluminum with a fluted non-skid surface, alloy 6063-T6, with 204R1 anodized clear finish

- Plank shall be 2” by 10” nominal with a wall thickness of .078” (+ / - .006” industry tolerance) at the smooth surface.

- Finish size shall be 1-3/4” by 9-1/2”

- Seats shall attach to the decking system seat supports by means of concealed aluminum clips, galvanized bolts, washers and nuts.

- Seat supports shall be installed on centers that will allow for the same design deflection criteria required by code.

- End caps shall be of extruded aluminum and shall match in both color and finish the plank to which they attach.  All end caps shall be single piece and shall attach to the underside of the plank with a minimum of two aluminum rivets.

- Optional  Backrests (minimum 28” tread depth required)

      - Backrests shall be of extruded aluminum with a fluted surface, alloy 6063-T6, with 204R1 anodized clear finish. (Optional: powder coated finish as specified by owner).

      - Plank shall be a minimum 2” by 6” contour nominal with a wall thickness of .078” (+ / - .006” industry tolerance).

      - Backrests shall attach to an anodized aluminum channel stanchion and the stanchion shall connect to the underside of the seat plank.  The stanchion shall connect to the backrests and seat plank using concealed aluminum clips.

      - End caps shall be of cast aluminum attach to the plank with two stainless steel pan head screws.

C.	Optional Self-Rising Chairs (minimum of 30” tread depth required)

- Chairs shall be designed to allow the seat pan to flip up allowing for the specified clear aisle access way.  Aisle access way shall be measured with the chair unoccupied.

- Seat portion of chair shall be gravity activated with an internal quieting bumper.  Any pinch point hardware, including spring type devices is strictly prohibited.

- All welded one piece steel stanchions and arm rest supports.

- Finish for all chair supports shall be Powder Coated black in color.

- Stanchions shall be an integral part of the bleacher system.

- Seat pan and backs shall be blow molded plastic with color. Color shall be selected by the owner prior to installation.

D.	Optional Seat and Row Lettering

- Seat numbering shall be clearly and permanently marked with computerized engraving system.

- Seats shall be marked at 18” minimum on center.

- Row numbering shall be clearly and permanently marked with material providing a high contrast, high-resolution mark.

- Row lettering shall be marked on the end caps.

2.6      HANDRAILS / GUARDRAILS

- All railing shall consist of 1-5/8” schedule 40 anodized pipe.

- All pipe fittings shall be of cast aluminum.

- Guardrail supports to be 3” aluminum channel, alloy 6061-T6.

- Rail pipe shall be secured to the guardrail support by means of galvanized tension bands.

- The top rail shall be 42” minimum above the nearest seat on the sides and rear, and 42” above the tread on the front walkway.

- Handrails on stairs shall be 34” above the leading most edge of the stair tread.

- Galvanized or vinyl chain link fence shall be provided on the front, sides and rear of the grandstand and at all egress areas.

- Handrails shall be provided at all walking areas and shall extend 1-1/2” from guardrail material.  Standoff shall be extruded aluminum, alloy 6061-T6

- Handrails shall have internal sleeves for splice purposes and finished rail shall be continuous and shall not exceed 1-5/8” diameter.

2.7     RAMPS

- Wheel chair accessible ramps with a minimum 60” clear width and a maximum 1:12 slope shall be provided, conforming to code.

- Understructure shall be constructed of same materials as bleacher support structure.

- Decking and handrails shall be constructed of same materials as bleacher decking.

PART 3 – EXECUTION

3.1  	EXAMINATION

Before erection proceeds, certified bleacher installer will survey elevations and 	locations of concrete pads or runners to verify compliance with requirements and 	bleacher manufacturer’s tolerances.

3.2	ERECTION

A.	Erect bleacher system according to manufacturer’s written instructions 			and erection drawings.

B.	Do not field cut, drill or alter structural members without written approval 			from bleacher system manufacturer’s professional engineer.

C.	Set structural framing in locations as indicated.

3.3	CLEANING AND PROTECTION

A.	Clean all metal surfaces promptly after installation of work.

B.	Exercise care to avoid damage to protective coatings and finishes.

C.	Remove all excess construction material and dispose of all debris.

END OF SECTION 13125